Scanning Probe Microscope Solver PRO-M, NTMDT, Russia

Cantilevere utilizate:

NSG10/Au, NTMDT, Russia (pentru tehnica de semicontact)

CSG10, NTMDT, Russia (pentru tehnica de contact)

NSG10/W2C, NTMDT, Russia (pentru proprietăţi electrice - tehnica de semicontact)

CSG10/Pt, NTMDT, Russia (pentru proprietăţi electrice - tehnica de contact)

NSG01/Co, NTMDT, Russia (pentru proprietăţi magnetice - tehnica de semicontact)

Tehnici SPM în aer (denumiri în engleză):

- STM

- Atomic Force Microscopy (AFM) (contact + semicontact)

- Lateral Force Microscopy (LFM)

- Phase Imaging mode

- Force Modulation mode

- Adhesion Force Imaging

- Force Microscopy (EFM)

- DC&AC Magnetic Force Microscopy (MFM)

- DC&AC Electrostatic Force Microscopy (EFM)

- Scanning Capacitance Microscopy (SCM)

- Kelvin Probe Microscopy (KPM)

- Spreading Resistance Imaging (SRI)

Spectroscopii:

- AFM (force_volume imaging, amplitude_distance, phase_distance curves),

- STM (I(z), I(V), Local Barrier Height (LBH), Local Density of States (LDOS).

Tehnici litografice în aer:

- AFM

  - Force (scratching + dynamic plowing)

  - Current (DC&AC )

- STM;